{"text_format":"2","workbook":"xls","n_sheets":15,"sheets":["設計書鏡","表紙","大科目","(一)建築","A外部改修","B柱補強工事","B内部改修","C外構工事","別紙明細","(二)電気","(二)-A校舎棟","(二)別紙明細","(三)機械","（三）別紙明細","共通仮設積上"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":18,"defined_names":370,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"設計書鏡","index":0,"n_rows":11,"n_cols":7,"rows_kept":11,"cut":false,"hidden":false,"merged":[[8,0,8,3],[8,4,8,7],[6,0,7,0],[6,3,7,3],[6,4,7,4],[6,5,7,5],[6,6,7,6],[6,7,7,7],[0,1,0,7],[1,1,1,7],[2,1,2,3],[2,4,2,7],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[4,5,4,7]],"flags":["formulas_cached_only"]}
["令和６年度","工　事　設　計　書"]
["工　事　名","　玉城町立玉城中学校校舎等改修工事"]
["施 工 場 所","  玉城町　田丸　地内",null,null,"調査"]
["設　計　費","金",null,"円（内消費税 　　　　円）","技師",null,"係"]
[{"$nulls":4},"設　計","　　令和６年６月作成"]
[{"$nulls":4},"設計",null,"検算"]
["期　　　間","自","令和６年　　月　　日","日間　　","長",null,"巾"]
[null,"至","令和７年　１月３１日"]
["工　事　の　概　要",null,null,null,"変　更　理　由"]
[]
["玉城町立玉城中学校校舎等改修工事一式"]

{"sheet":"表紙","index":1,"n_rows":20,"n_cols":1,"rows_kept":20,"cut":false,"hidden":false,"merged":[[34,0,34,9],[9,0,12,9],[19,0,21,9],[31,0,31,9],[32,0,33,9]],"flags":["formulas_cached_only"]}
{"$rows_empty":9}
["玉城町立玉城中学校校舎等改修工事"]
{"$rows_empty":9}
["内  訳  書"]

{"sheet":"大科目","index":2,"n_rows":37,"n_cols":9,"rows_kept":37,"cut":false,"hidden":false,"merged":[[3,8,4,8],[4,1,4,2],[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[]
[1,null,"玉城町立玉城中学校校舎等改修工事"]
[]
[2,null,"（直接工事費）"]
[]
[3,"(一)","建築工事",null,1,"式"]
[]
[4,"(二)","電気設備工事",null,1,"式"]
[]
[5,"(三)","機械設備工事",null,1,"式"]
[]
[7,null,"直接工事費　計"]
[]
[6]
[]
[8,null,"（共通費）"]
[]
[9,"(四)","共通仮設費",null,1,"式"]
[]
[10,"(五)","現場管理費",null,1,"式"]
[]
[11,"(六)","一般管理費",null,1,"式"]
[]
[12,null,"共通費　計"]
[]
[13]
[]
[14,null,"工事価格"]
[]
[15,null,"消費税",0.1]
[]
[16,null,"総工事費"]

{"sheet":"(一)建築","index":3,"n_rows":37,"n_cols":9,"rows_kept":37,"cut":false,"hidden":false,"merged":[[4,1,4,2],[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[]
[1,"(一)","建築工事"]
[]
[2]
[]
[3,"Ａ","外部改修工事",null,1,"式"]
[]
[4,"Ｂ","内部改修工事",null,1,"式"]
[]
[5,"Ｃ","外構工事",null,1,"式"]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"(一)の計"]

{"sheet":"A外部改修","index":4,"n_rows":325,"n_cols":9,"rows_kept":325,"cut":false,"hidden":false,"merged":[[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8],[4,1,4,2]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[]
[1,"Ａ","外部改修工事"]
[]
[2]
[]
[3,"1)","直接仮設工事",null,1,"式"]
[]
[4,"2)","撤去工事",null,1,"式"]
[]
[5,"3)","ｺﾝｸﾘｰﾄ工事",null,1,"式"]
[]
[6,"4)","鉄筋工事",null,1,"式"]
[]
[7,"5)","防水改修工事",null,1,"式"]
[]
[8,"6)","外壁改修工事",null,1,"式"]
[]
[9,"7)","塗装改修工事",null,1,"式"]
[]
[10,"8)","金属工事",null,1,"式"]
[]
[11,"9)","発生材処分",null,1,"式"]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"Ａの計"]
[]
[1,"1)","直接仮設工事"]
[]
[2]
[]
[3,null,"外部足場","枠組足場 建地幅1,200 3か月",1,"式",null,null,"別紙明細-1-1"]
[]
[4,null,"安全手摺","枠組足場用",1,"式",null,null,"別紙明細-1-2"]
[]
[5,null,"垂直養生","ﾒｯｼｭｼｰﾄ",1,"式",null,null,"別紙明細-1-3"]
[]
[6,null,"整理清掃後片付け",null,1,"式",null,null,"別紙明細-1-4"]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"1)の計"]
[]
[1,"2)","撤去工事"]
[]
[2]
[]
[3,null,"ｱｽﾌｧﾙﾄ防水撤去","平面",221,"ｍ2"]
[]
[4,null,"ｱｽﾌｧﾙﾄ防水撤去","立上り",175,"ｍ2"]
[]
[5,null,"鋳鉄製ﾙｰﾌﾄﾞﾚｲﾝ撤去","φ100撤去",30,"箇所"]
[]
[6]
[]
[7,null,"外壁ｼｰﾘﾝｸﾞ撤去","建具廻り",2040,"ｍ"]
[]
[8,null,"外壁ｼｰﾘﾝｸﾞ撤去","EXP,J部分",12,"ｍ"]
[]
[9,null,"ｺﾝｸﾘｰﾄ基礎撤去","0.30*0.30*5.60*4",2,"ｍ3"]
[]
[10]
[]
[11,null,"ｺﾝｸﾘｰﾄ手摺撤去","支柱□20*20",10.5,"ｍ3"]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"2)の計"]
[]
[1,"3)","ｺﾝｸﾘｰﾄ工事"]
[]
[2]
[]
[3,null,"設備基礎ｺﾝｸﾘｰﾄ","Fc=21 SL=18",2,"ｍ3"]
[]
[4,null,"ｺﾝｸﾘｰﾄ打設手間",null,1,"式",null,null,"別紙明細1-5"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"3)の計"]
[]
[1,"4）","鉄筋工事"]
[]
[2]
[null,null,"設備基礎工事"]
[3,null,"SD295A","Φ13",0.1,"t"]
[]
[4,null,"鉄筋組立て費",null,0.1,"t"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"4)の計"]
[]
[1,"5）","防水工事"]
[]
[2]
[]
[3,null,"ｳﾚﾀﾝ塗膜防水(X-1)","平面（下地処理共）",420,"㎡"]
[]
[4,null,"ｳﾚﾀﾝ塗膜防水(X-2)","立上り（下地処理共）",367,"㎡"]
[]
[5,null,"ｳﾚﾀﾝ塗膜防水(X-2)","ﾍﾞﾗﾝﾀﾞ平場（下地処理共）",84,"㎡"]
[]
[6,null,"ｱﾙﾐ笠木取外し・再取付",null,84.1,"ｍ"]
[]
[7,null,"改修用ﾄﾞﾚｲﾝ","復旧",30,"箇所"]
[null,null,null,"建具廻り"]
[8,null,"外壁ｼｰﾘﾝｸﾞ","MS-2 15x10",2040,"ｍ"]
[]
[9,null,"脱気筒",null,16,"ヶ所"]
[null,null,"体育館取合い部"]
[10,null,"下地調整","ﾎﾟﾘﾏｰｾﾒﾝﾄﾓﾙﾀﾙ",1.4,"ｍ2"]
[]
[11,null,"外壁ｼｰﾘﾝｸﾞ","EXP,J部分　MS-2　10*10",12,"ｍ"]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"5)の計"]
[]
[1,"6）","外壁改修工事"]
[]
[2]
[]
[3,null,"施工数量調査","RC面",3960,"㎡"]
[null,null,null,"RC面　ﾃﾞｯｷﾌﾞﾗｼ"]
[4,null,"外壁　水洗い(巾木含む)　","ﾀｲﾙ面 高圧ﾎﾟﾝﾌﾟ",3960,"㎡"]
[]
[5,null,"ｴﾎﾟｷｼ樹脂充填工法","軒裏",55.4,"ｍ"]
[]
[6,null,"ﾓﾙﾀﾙ浮き部補修","立上",2,"m2"]
[]
[7,null,"ｱﾝｶｰﾋﾟﾝﾆﾝｸﾞｴﾎﾟｷｼ樹脂ﾓﾙﾀﾙ充填","ﾍﾞﾗﾝﾀﾞ裏",20,"m2"]
[null,null,"竪樋"]
[8,null,"DP塗","1級ﾌｯ素　素地ごしらえB種",287,"ｍ"]
[]
[9,null,"ｸﾗｯｸ補修","外壁",792,"m2"]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"6)の計"]
[]
[1,"7）","塗装改修工事"]
[]
[2]
[null,null,"外壁","RC面"]
[3,null,"複層塗材E","ｾﾒﾝﾄ系下地調整塗材C-2",2130,"ｍ2"]
[null,null,"軒裏","RC面"]
[4,null,"外装薄塗材E","ｾﾒﾝﾄ系下地調整塗材C-2",553,"ｍ2"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"7)の計"]
[]
[1,"8）","金物工事"]
[]
[2]
[]
[3,null,"手摺新設","H1100,W50 SUS製",118,"ｍ"]
[]
[4]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"8)の計"]
[]
[1,"9）","発生材処分"]
[]
[2]
[]
[3,null,"発生材積み込み","ﾌﾟﾗｽﾁｯｸ類",3.6,"ｍ3"]
[]
[4,null,"発生材積み込み","がれき類",12.6,"ｍ3"]
[]
[5]
[]
[6,null,"発生材運搬","ﾌﾟﾗｽﾁｯｸ類",3.6,"ｍ3"]
[]
[7,null,"発生材運搬","がれき類",12.6,"ｍ3"]
[]
[8]
[]
[9,null,"発生材処分","ﾌﾟﾗｽﾁｯｸ類",3.9,"ｔ"]
[]
[10,null,"発生材処分","がれき類",29.5,"ｔ"]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"9)の計"]

{"sheet":"B柱補強工事","index":5,"n_rows":261,"n_cols":12,"rows_kept":261,"cut":false,"hidden":true,"merged":[[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8],[3,11,4,11],[4,1,4,2]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円",null,"円","　　　　　　　　　　円"]
[]
[1,"Ｂ","柱補強工事"]
[]
[2]
[]
[3,"1)","直接仮設工事",null,1,"式",null,0]
[]
[4,"2)","地業工事",null,1,"式",null,4548]
[]
[5,"3)","ｺﾝｸﾘｰﾄ工事",null,1,"式",null,351540]
[]
[6,"4)","鉄筋工事",null,1,"式",null,16800]
[]
[7,"5）","型枠工事",null,1,"式",null,6950]
[]
[8,"6）","鉄骨工事",null,1,"式",null,159617]
[]
[9,"7）","左官工事",null,1,"式",null,1263]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"Ａの計",{"$nulls":4},540718]
[]
[1,"1)","直接仮設工事","本体改修工事に含む",null,null,null,""]
[]
[2,{"$nulls":6},""]
[]
[3]
[]
[4]
[]
[5]
[]
[6]
[]
[7]
[]
[8,{"$nulls":6},""]
[]
[9,{"$nulls":6},""]
[]
[10,{"$nulls":6},""]
[]
[11,{"$nulls":6},""]
[]
[12,{"$nulls":6},""]
[]
[13,{"$nulls":6},""]
[]
[14,{"$nulls":6},""]
[]
[15,{"$nulls":6},""]
[]
[16,null,"1)の計",{"$nulls":4},0]
[]
[1,"2)","地業工事",{"$nulls":4},""]
[]
[2,{"$nulls":6},""]
[]
[3,null,"掘削","深さ1ｍ未満",0.4,"ｍ3",7030,2812,"刊行物比較表"]
[]
[4,null,"埋戻","建物周辺から仮置き",0.3,"ｍ3",3300,990,"刊行物比較表"]
[]
[5,null,"砕石地業","再生ｸﾗｯｼｬﾗﾝt100",0.1,"ｍ3",5215,521,"刊行物比較表"]
[]
[6,null,"発生土処理","場内仮置き土",0.3,"ｍ3",750,225,"刊行物比較表"]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13,{"$nulls":6},""]
[]
[14,{"$nulls":6}," "]
[]
[15,{"$nulls":6},""]
[]
[16,null,"2)の計",{"$nulls":4},4548]
[]
[1,"3)","ｺﾝｸﾘｰﾄ工事",{"$nulls":4},""]
[]
[2,{"$nulls":6},""]
[null,null,"柱補強工事"]
[3,null,"基礎ｺﾝｸﾘｰﾄ","Fc＝24　SL＝18",0.2,"ｍ3",21000,4200,"刊行物比較表"]
[]
[4,null,"捨てｺﾝｸﾘｰﾄ","Fc＝18　SL＝18",0.1,"ｍ3",20500,2050,"刊行物比較"]
[]
[5,null,"ｺﾝｸﾘｰﾄ打設手間",null,1,"式",null,345290,"別紙明細1-6"]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14,{"$nulls":6},""]
[]
[15,{"$nulls":6},""]
[]
[16,null,"3)の計",{"$nulls":4},351540]
[]
[1,"4）","鉄筋工事",{"$nulls":4},""]
[]
[2,{"$nulls":6},""]
[null,null,"柱補強工事"]
[3,null,"SD295A","Φ13",0.1,"ｔ",114000,11400,"刊行物比較表"]
[]
[4,null,"鉄筋組立費",null,0.1,"t",54000,5400,"刊行物比較表"]
[]
[5,{"$nulls":6},""]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14,{"$nulls":6},""]
[]
[15,{"$nulls":6},""]
[]
[16,null,"3)の計",{"$nulls":4},16800]
[]
[1,"5）","型枠工事",{"$nulls":4},""]
[]
[2,{"$nulls":6},""]
[null,null,"柱補強工事"]
[3,null,"普通合板型枠","基礎部",1.58,"ｍ2",4100,6478,"刊行物比較表"]
[]
[4,null,"型枠運搬費",null,1.6,"ｍ2",295,472,"刊行物比較表"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"5)の計",{"$nulls":4},6950]
[]
[1,"6）","鉄骨工事",{"$nulls":4},""]
[]
[2,{"$nulls":6},""]
[null,null,null,"STK400"]
[3,null,"鋼管","Φ-114.3*6.0",0.1,"t",195000,19500,"刊行物比較表"]
[null,null,null,"SS400"]
[4,null,"鋼板","t16",0.1,"t",185000,18500,"刊行物比較表"]
[null,null,null,"SS400"]
[5,null,"鋼板","t12",0.1,"t",185000,18500,"刊行物比較表"]
[]
[6,null,"金属系ｱﾝｶｰ",null,4,"本",1221,4884,"刊行物比較表"]
[]
[7,null,"ｱﾝｶｰﾎﾞﾙﾄ",null,4,"本",182,728,"刊行物比較表"]
[]
[8,null,"貫通ﾎﾞﾙﾄ","ﾎﾞﾙﾄ+ﾅｯﾄ*4+座金*2",8,"本",590,4720,"刊行物比較表"]
[]
[9,null,"工場製作費",null,0.3,"ｔ",96300,28890,"刊行物比較表"]
[]
[10,null,"鉄骨運搬費",null,0.3,"ｔ",8215,2464,"刊行物比較表"]
[]
[11,null,"現場工事費","ﾎﾞﾙﾄ本締め",0.3,"ｔ",8570,2571,"刊行物比較表"]
[]
[12,null,"ｱﾝｶｰﾎﾞﾙﾄｾｯﾄ費",null,4,"ｔ",1770,7080,"刊行物比較表"]
[]
[13,null,"ﾍﾞｰｽ下無収縮ﾓﾙﾀﾙ","□276-t50　",6,"ヶ所",3770,22620,"刊行物比較表"]
[]
[14,null,"溶融亜鉛ﾒｯｷ","HDZT77",0.3,"ｔ",94000,28200,"刊行物比較表"]
[]
[15,null,"錆止め塗装",null,2,"ｍ2",480,960,"刊行物比較表"]
[]
[16,null,"6)の計",{"$nulls":4},159617]
[]
[null,"7）","左官工事",{"$nulls":4},""]
[]
[{"$nulls":7},""]
[null,null,"柱補強工事"]
[null,null,"ﾓﾙﾀﾙ金鏝仕上",null,0.3,"ｍ2",4210,1263,"刊行物比較表"]
{"$rows_empty":21}
[{"$nulls":7},""]
[]
[{"$nulls":7},""]
[]
[null,null,"7)の計",{"$nulls":4},1263]

{"sheet":"B内部改修","index":6,"n_rows":389,"n_cols":9,"rows_kept":389,"cut":false,"hidden":false,"merged":[[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8],[4,1,4,2]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[]
[1,"Ｂ","内部改修工事"]
[]
[2]
[]
[3,"1)","直接仮設工事",null,1,"式"]
[]
[4,"2)","撤去工事",null,1,"式"]
[]
[5,"3)","鉄筋工事",null,1,"式"]
[]
[6,"4)","ｺﾝｸﾘｰﾄ工事",null,1,"式"]
[]
[7,"5)","金属工事",null,1,"式"]
[]
[8,"6)","左官工事",null,1,"式"]
[]
[9,"7)","塗装工事",null,1,"式"]
[]
[10,"8)","建具工事",null,1,"式"]
[]
[11,"9)","内装工事",null,1,"式"]
[]
[12,"10)","その他工事",null,1,"式"]
[]
[13,"11)","発生材処分費",null,1,"式"]
[]
[14]
[]
[15]
[]
[16,null,"Cの計"]
[]
[1,"1)","直接仮設工事"]
[]
[2]
[]
[3,null,"移動式足場","ﾛｰﾘﾝｸﾞﾀﾜｰ",1,"式",null,null,"別紙明細-2-1"]
[]
[4,null,"墨出し",null,1,"式",null,null,"別紙明細-2-2"]
[]
[5,null,"床養生","ｺﾝﾊﾟﾈt12、ﾋﾞﾆﾙｼｰﾄ",1,"式",null,null,"別紙明細-2-3"]
[]
[6,null,"整理整頓後片付",null,1,"式",null,null,"別紙明細-2-4"]
[]
[7,null,"竣工後ｸﾘｰﾆﾝｸﾞ",null,1,"式",null,null,"別紙明細-2-5"]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"1)の計"]
[]
[1,"2)","撤去工事"]
[]
[2]
[]
[3,null,"ｶｯﾀｰ入れ","ｺﾝｸﾘｰﾄ面",64.2,"ｍ"]
[]
[4,null,"ｶｯﾀｰ入れ","タイル面",156,"ｍ"]
[]
[5,null,"ﾀｲﾙ撤去","下地ﾓﾙﾀﾙ共",155,"ｍ2"]
[]
[6,null,"ｺﾝｸﾘｰﾄ撤去",null,27.3,"ｍ3"]
[]
[7,null,"ｽﾃﾝﾚｽ側溝撤去","W300",6.4,"ｍ"]
[]
[8,null,"内装材撤去","ｼﾅ合板、木製胴縁下地",60.9,"ｍ2"]
[]
[9,null,"手摺支柱撤去","□20*20PL3.2*W630*250",6,"か所"]
[]
[10,null,"面材撤去",null,1.6,"ｍ2"]
[null,null,"職員室家具"]
[11,null,"家具撤去(廊下側)","W13,150xH1,800xD455",4.4,"ｍ3"]
[null,null,"職員室家具"]
[12,null,"家具撤去(運動場側)","W3,985xH810xD500",1.9,"ｍ3"]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"2）の計"]
[]
[1,"3）","鉄筋工事"]
[]
[2]
[]
[3,null,"接着系ｱﾝｶｰ","D10*490　",4,"本"]
[]
[4,null,"SD295A　D10",null,0.1,"ｔ"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"3)の計"]
[]
[1,"4）","ｺﾝｸﾘｰﾄ工事"]
[]
[2]
[]
[3,null,"止水ｺﾝｸﾘｰﾄ","FC＝18　ｽﾗﾝﾌﾟ18",0.1,"ｍ3"]
[]
[4,null,"ｼﾝﾀﾞｰｺﾝｸﾘｰﾄ","FC＝18　ｽﾗﾝﾌﾟ18",24.3,"ｍ3"]
[]
[5]
[]
[6,null,"ｺﾝｸﾘｰﾄ打設費",null,1,"式",null,null,"別紙明細-3"]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"4)の計"]
[]
[1,"5)","金属工事"]
[]
[2]
[]
[3,null,"SUS製ｸﾞﾚｰﾁﾝｸﾞ桝","450角、細目ﾉﾝｽﾘｯﾌﾟ",1,"ヶ所"]
[]
[4,null,"SUS製ｸﾞﾚｰﾁﾝｸﾞ細目ﾉﾝｽﾘｯﾌﾟ","受枠、嵩上角鋼共",9,"ｍ"]
[]
[5,null,"SUS製床見切　曲加工","L-75x50x3.0 HLﾋﾞｽ固定",5,"ｍ"]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"5)の計"]
[]
[1,"6）","左官工事"]
[]
[2]
[]
[3,null,"ﾓﾙﾀﾙ金ｺﾃ下地",null,124,"ｍ2"]
[null,null,"便所"]
[4,null,"ﾓﾙﾀﾙ金ｺﾃ下地",null,147,"ｍ2"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"6)の計"]
[]
[1,"７）","塗装工事"]
[]
[2]
[null,null,"厨房床"]
[3,null,"自閉樹脂塗膜防水",null,13.4,"ｍ2"]
[null,null,"厨房床"]
[4,null,"下地調整",null,13.4,"ｍ2"]
[null,null,"共有部"]
[5,null,"EP塗","ｺﾝｸﾘｰﾄ面　",1092,"ｍ2"]
[null,null,"共有部"]
[6,null,"下地調整","ｺﾝｸﾘｰﾄ面　RB種",1092,"ｍ2"]
[null,null,"昇降口天井"]
[7,null,"EP塗","ｺﾝｸﾘｰﾄ面",106,"ｍ2"]
[null,null,"昇降口天井"]
[8,null,"下地調整","ｺﾝｸﾘｰﾄ面　RB種",106,"ｍ2"]
[null,null,"共有部"]
[9,null,"SOP塗","木部",1251,"ｍ２"]
[null,null,"共有部"]
[10,null,"下地調整","木部",1251,"ｍ2"]
[null,null,"階段天井"]
[11,null,"EP塗","ﾎﾞｰﾄﾞ面　",4,"ｍ2"]
[null,null,"階段天井"]
[12,null,"下地調整","ﾎﾞｰﾄﾞ面　RB種",4,"ｍ2"]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"7)の計"]
[]
[1,"8）","建具工事"]
[]
[2]
[]
[3,null,"網戸",null,100,"ヶ所"]
[]
[4,null,"飛散防止フィルム",null,1240,"ｍ2"]
[]
[5,null,"強化ｶﾞﾗｽFL5.0",null,108,"ｍ2"]
[null,null,"便所"]
[6,null,"TB","撤去・復旧",7,"ヶ所"]
[null,null,"便所","1階TBﾊﾟﾈﾙ取り換え"]
[7,null,"TB","W600*H1900*D40",1,"ヶ所"]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"8)の計"]
[]
[1,"9)","内装工事"]
[]
[2]
[null,null,"厨房床"]
[3,null,"特殊防滑性ﾋﾞﾆﾙ床ｼｰﾄt2.0",null,110,"ｍ2"]
[null,null,"教室壁"]
[4,null,"ｹｲｶﾙ板下地","ｔ8.0",68.3,"㎡"]
[null,null,"教室壁"]
[5,null,"GB-Rt12.5","GL工法",68.3,"ｍ2"]
[null,null,"便所"]
[6,null,"防滑性ﾋﾋﾞﾆﾙ床ｼｰﾄt2.0",null,147,"ｍ2"]
[]
[7]
[null,null,"天井"]
[8,null,"既存塗膜撤去","水洗い",106,"ｍ2"]
[null,null,"天井"]
[9,null,"既存塗膜撤去","下地調整",106,"ｍ2"]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"9)の計"]
[]
[1,"10）","その他"]
[]
[2]
[null,null,"厨房工事"]
[3,null,"厨房機器工事","撤去・復旧",1,"式"]
[]
[4,null,"ｽﾁｰﾙ製手摺工事","屋内階段",25.4,"ｍ"]
[]
[5]
[]
[6]
[null,null,"職員室家具","W3,985xH810xD500(運動場側)"]
[7,null,"家具撤去(廊下側)","W13,150xH1,800xD455(廊下側)",1,"式"]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"10)の計"]
[]
[1,"11）","発生材処分"]
[]
[2]
[]
[3,null,"発生材積み込み","がれき類",0.7,"ｍ3"]
[]
[4,null,"発生材積み込み","内装材",5.5,"ｍ3"]
[]
[5,null,"発生材積み込み","その他",4.5,"ｍ3"]
[]
[6,null,"発生材運搬","がれき類",0.7,"ｍ3"]
[]
[7,null,"発生材運搬","内装材",5.5,"ｍ3"]
[]
[8,null,"発生材運搬","その他",4.5,"ｍ3"]
[]
[9]
[]
[10,null,"発生材処分","がれき類",1.7,"ｔ"]
[]
[11,null,"発生材処分","内装材",0.2,"ｔ"]
[]
[12,null,"発生材処分","その他",1.9,"ｔ"]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"11)の計"]

{"sheet":"C外構工事","index":7,"n_rows":69,"n_cols":9,"rows_kept":69,"cut":false,"hidden":false,"merged":[[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8],[4,1,4,2]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[]
[1,"Ｃ","外構工事"]
[]
[2]
[]
[3,null,"ｱｽﾌｧﾙﾄｶｯﾀｰ",null,35,"ｍ"]
[]
[4,null,"ｱｽﾌｧﾙﾄ舗装撤去",null,8.5,"㎡"]
[]
[5]
[]
[6,null,"ｱｽﾌｧﾙﾄ舗装","t=50　不陸調整・ﾌﾟﾗｲﾑｺｰﾄPK-3共",8.5,"㎡"]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16]
[]
[1]
[]
[2,null,"発生材積み込み","アスファルト",1.7,"ｍ3"]
[]
[3]
[]
[4]
[]
[5,null,"発生材運搬","アスファルト",1.7,"ｍ3"]
[]
[6]
[]
[7]
[]
[8,null,"発生材処分","アスファルト",3.5,"t"]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"Cの計"]

{"sheet":"別紙明細","index":8,"n_rows":165,"n_cols":9,"rows_kept":165,"cut":false,"hidden":false,"merged":[[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8],[4,1,4,2]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[]
[1,null,"別紙明細-1"]
[]
[2]
[]
[3,"1)","直接仮設工事"]
[]
[4,-1,"外部足場","枠組み足場",1,"式"]
[]
[5,null,"外部足場","枠組み足場",3260,"m2"]
[]
[6,null,"計"]
[]
[7]
[]
[8,-2,"安全手摺",null,1,"式"]
[]
[9,null,"安全手摺",null,336,"ｍ"]
[]
[10,null,"計"]
[]
[11]
[]
[12,-3,"垂直養生","ﾒｯｼｭｼｰﾄ",1,"式"]
[]
[13,null,"垂直養生","ﾒｯｼｭｼｰﾄ",3260,"m2"]
[]
[14,null,"計"]
[]
[15]
[]
[16]
[]
[1]
[]
[2,-4,"整理整頓後片付け",null,1,"式"]
[]
[3,null,"整理整頓後片付け",null,4230,"m2"]
[]
[4,null,"計"]
[]
[5]
[]
[6,-5,"ｺﾝｸﾘｰﾄ工事"]
[]
[7,null,"ｺﾝｸﾘｰﾄ打設手間",null,1,"式"]
[]
[8,null,"ｺﾝｸﾘｰﾄ打設費","設備基礎",2,"m3"]
[]
[9,null,"ｺﾝｸﾘｰﾄ圧送費","設備基礎",1,"回"]
[]
[10,null,"計"]
[]
[11]
[]
[12,-6,"ｺﾝｸﾘｰﾄ工事"]
[]
[13,null,"ｺﾝｸﾘｰﾄ打設手間","柱補強基礎",1,"式"]
[]
[14,null,"ｺﾝｸﾘｰﾄ打設費","柱補強基礎",0.3,"m3"]
[]
[15,null,"ｺﾝｸﾘｰﾄ圧送費",null,3,"回"]
[]
[16,null,"計"]
[]
[1,null,"別紙明細-2"]
[]
[2]
[]
[3,"1)","直接仮設工事"]
[]
[4,-1,"移動式足場",null,1,"式"]
[]
[5,null,"移動式足場",null,1,"台"]
[]
[6,null,"計"]
[]
[7]
[]
[8,-2,"墨だし",null,1,"式"]
[]
[9,null,"墨出し",null,279,"m2"]
[]
[10,null,"計"]
[]
[11]
[]
[12]
[]
[13,-3,"床養生","ｺﾝﾊﾟﾈt12、ﾋﾞﾆﾙ床ｼｰﾄ",1,"式"]
[]
[14,null,"床養生","ｺﾝﾊﾟﾈt12、ﾋﾞﾆﾙ床ｼｰﾄ",42,"m2"]
[]
[15,null,"計"]
[]
[16]
[]
[1]
[]
[2,-4,"整理整頓後片付け",null,1,"式"]
[]
[3,null,"整理整頓後片付け",null,321,"m2"]
[]
[4,null,"計"]
[]
[5]
[]
[6,-5,"竣工後ｸﾘｰﾆﾝｸﾞ",null,1,"式"]
[]
[7,null,"竣工後ｸﾘｰﾆﾝｸﾞ",null,42,"m2"]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16]
[]
[1,null,"別紙明細-3"]
[]
[2]
[]
[3,"5)","ｺﾝｸﾘｰﾄ工事"]
[]
[4,null,"ｺﾝｸﾘｰﾄ打設手間",null,1,"式"]
[]
[5,null,"ｺﾝｸﾘｰﾄ打設費","ｼﾝﾀﾞｰｺﾝｸﾘｰﾄ",24.4,"m3"]
[]
[6,null,"ｺﾝｸﾘｰﾄ打設費","止水ｺﾝｸﾘｰﾄ",0.1,"m3"]
[]
[7,null,"ｺﾝｸﾘｰﾄ圧送費",null,1,"式"]
[]
[8,null,"計",null,1,"式"]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16]

{"sheet":"(二)電気","index":9,"n_rows":37,"n_cols":12,"rows_kept":37,"cut":false,"hidden":false,"merged":[[3,11,4,11],[4,1,4,2],[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数量","単　位","単　　価","金　　　　額","備　　　　　　考","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円",null,"円","　　　　　　　　　　円"]
[]
[1,"（二）","電気設備工事"]
[]
[2]
[]
[3,"A)","校舎棟",null,1,"式"]
[]
[4]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"(二)の計"]

{"sheet":"(二)-A校舎棟","index":10,"n_rows":165,"n_cols":9,"rows_kept":165,"cut":false,"hidden":false,"merged":[[4,1,4,2],[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[]
[1,"A)","校舎棟"]
[]
[2]
[]
[3,"1)","電灯設備",null,1,"式"]
[]
[4,"2)","構内交換設備",null,1,"式"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"A)の計"]
[]
[1,"A)","校舎棟"]
[]
[2,"1)","電灯設備"]
[]
[3,null,"電灯分岐"]
[]
[4,null,"ケーブル　","EM-EEF 1.6-2C　ころがし",11,"ｍ"]
[]
[5,null,"ケーブル　","EM-EEF 2.0-2C　ころがし",233,"ｍ"]
[]
[6,null,"ボックス類",null,1,"式",null,null,"別紙明細 E-1"]
[]
[7,null,"LED照明器具","A32",11,"個"]
[]
[8,null,"LED照明器具","A40",219,"個"]
[]
[9,null,"LED照明器具","A52",38,"個"]
[]
[10,null,"LED照明器具","A69",12,"個"]
[]
[11,null,"LED照明器具","B16",3,"個"]
[]
[12,null,"LED照明器具","B32",77,"個"]
[]
[13,null,"LED照明器具","C40",2,"個"]
[]
[14,null,"LED照明器具","C52",7,"個"]
[]
[15,null,"LED照明器具","C69",9,"個"]
[]
[16,null,"LED照明器具","D32",1,"個"]
[]
[1,null,"LED照明器具","E32",1,"個"]
[]
[2,null,"LED照明器具","E32G",3,"個"]
[]
[3,null,"LED照明器具","F69",32,"個"]
[]
[4,null,"LED照明器具","G69",3,"個"]
[]
[5,null,"LED照明器具","H52",1,"個"]
[]
[6,null,"LED照明器具","H52-右",1,"個"]
[]
[7,null,"LED照明器具","H52-左",1,"個"]
[]
[8,null,"LED照明器具","H69",6,"個"]
[]
[9,null,"LED照明器具","H69-右",8,"個"]
[]
[10,null,"LED照明器具","H69-左",8,"個"]
[]
[11,null,"LED照明器具","I84",3,"個"]
[]
[12,null,"LED照明器具","J45",3,"個"]
[]
[13,null,"LED照明器具","K69",12,"個"]
[]
[14,null,"LED照明器具","L69",2,"個"]
[]
[15,null,"LED照明器具","M69",4,"個"]
[]
[16,null,"LED照明器具","N69",8,"個"]
[]
[1,null,"LED照明器具","O52",1,"個"]
[]
[2,null,"LED照明器具","P",4,"個"]
[]
[3,null,"LED照明器具","Q",3,"個"]
[]
[4,null,"LED照明器具","R",1,"個"]
[]
[5,null,"LED照明器具","S",12,"個"]
[]
[6,null,"LED照明器具","T",1,"個"]
[]
[7,null,"撤去費",null,1,"式",null,null,"別紙明細 E-2"]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"1)の計"]
[]
[1,"2)","構内交換設備"]
[]
[2,null,"電話交換装置","(基本架・増設架)",1,"架"]
[]
[3,null,"多機能電話機",null,3,"台"]
[]
[4,null,"コードレス電話機",null,1,"台"]
[]
[5,null,"デジタルコードレス電話機",null,19,"台"]
[]
[6,null,"デジタルコードレス（ＵＭ）ＩＤ基地局",null,1,"台"]
[]
[7,null,"デジタルコードレス（ＵＭ）ＮＤ基地局",null,16,"台"]
[]
[8,null,"交換機取付工事",null,1,"式"]
[]
[9,null,"交換機プログラム作成",null,1,"式"]
[]
[10,null,"ＰＨＳ子機 データ設定",null,10,"台"]
[]
[11,null,"ＰＨＳ基地局増設・取替および試験調整",null,17,"台"]
[]
[12,null,"撤去費",null,1,"式",null,null,"別紙明細 E-4"]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"2)の計"]

{"sheet":"(二)別紙明細","index":11,"n_rows":133,"n_cols":9,"rows_kept":133,"cut":false,"hidden":false,"merged":[[4,1,4,2],[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[null,null,"【校舎棟】電灯分岐"]
[1,"E-1","ボックス類"]
[]
[2,null,"アウトレットボックス","中浅　カバー付",17,"個"]
[]
[3]
[]
[4]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16]
[null,null,"【校舎棟】電灯分岐"]
[1,"E-2","撤去"]
[]
[2,null,"照明器具","A11",4,"個"]
[]
[3,null,"照明器具","A21C",8,"個"]
[]
[4,null,"照明器具","A21WP",4,"個"]
[]
[5,null,"照明器具","A41",1,"個"]
[]
[6,null,"照明器具","CL6",5,"個"]
[]
[7,null,"照明器具","CP",1,"個"]
[]
[8,null,"照明器具","H42",2,"個"]
[]
[9,null,"照明器具","K41",32,"個"]
[]
[10,null,"照明器具","T41",1,"個"]
[]
[11,null,"照明器具","T41G",3,"個"]
[]
[12,null,"照明器具","U204P",3,"個"]
[]
[13,null,"照明器具","U32",2,"個"]
[]
[14,null,"照明器具","U401",3,"個"]
[]
[15,null,"照明器具","U42",25,"個"]
[]
[16,null,"照明器具","V21",41,"個"]
[]
[1,null,"照明器具","V22",2,"個"]
[]
[2,null,"照明器具","V31",19,"個"]
[]
[3,null,"照明器具","V32",1,"個"]
[]
[4,null,"照明器具","V32S",7,"個"]
[]
[5,null,"照明器具","V41",257,"個"]
[]
[6,null,"照明器具","V41H",4,"個"]
[]
[7,null,"照明器具","V41S",2,"個"]
[]
[8,null,"照明器具","V42",12,"個"]
[]
[9,null,"照明器具","V42WP",12,"個"]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16]
[null,null,"【校舎棟】構内交換設備"]
[1,"E-3","撤去"]
[]
[2,null,"電話交換装置",null,1,"架"]
[]
[3,null,"多機能電話機",null,3,"台"]
[]
[4,null,"基地局",null,17,"台"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16]

{"sheet":"(三)機械","index":12,"n_rows":197,"n_cols":9,"rows_kept":197,"cut":false,"hidden":false,"merged":[[4,1,4,2],[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円"]
[]
[1,"(三)","機械設備工事"]
[]
[2]
[]
[3,"1)","給排水衛生設備工事",null,1,"式"]
[]
[4]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"(三)の計"]
[]
[1,"1)","給排水設備工事"]
[]
[2]
[]
[3,1,"給水設備工事",null,1,"式"]
[]
[4,2,"排水設備工事",null,1,"式"]
[]
[5,3,"衛生器具設備工事",null,1,"式"]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"1）の計"]
[]
[1,1,"給水設備工事"]
[]
[2]
[]
[3,null,"硬質塩化ビニルライニング鋼管","VA　20A　便所",20,"ｍ"]
[]
[4]
[]
[5,null,"保温工事費",null,1,"式",null,null,"別紙明細-1"]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"1の計"]
[]
[1,2,"排水設備工事"]
[]
[2]
[]
[3,null,"硬質塩化ビニル管","VP　75A　便所",20,"ｍ"]
[]
[4,null,"硬質塩化ビニル管","VP　40A　一般",6,"ｍ"]
[]
[5,null,"硬質塩化ビニル管","VP　50A　一般",25,"ｍ"]
[]
[6,null,"硬質塩化ビニル管","VP　75A　一般",3,"ｍ"]
[]
[7,null,"硬質塩化ビニル管","VP　100A　一般",43,"ｍ"]
[]
[8,null,"コンクリート桝","450□",1,"個"]
[]
[9,null,"床上掃除口","COA 65A",4,"個"]
[]
[10,null,"床上掃除口","COA 100A",16,"個"]
[]
[11,null,"排水目皿","D 100A",2,"個"]
[]
[12,null,"掃兼ドレン","50A",2,"個"]
[]
[13]
[]
[14,null,"掘方埋戻し費",null,1,"式",null,null,"別紙明細-2"]
[]
[15,null,"保温工事費",null,1,"式",null,null,"別紙明細-3"]
[]
[16]
[]
[1]
[]
[2,null,"既設撤去費",null,1,"式",null,null,"別紙明細-4"]
[]
[3,null,"発生材処分費",null,1,"式",null,null,"別紙明細-5"]
[]
[4,null,"発生材運搬費",null,1,"式",null,null,"別紙明細-6"]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"2の計"]
[]
[1,3,"衛生器具設備工事"]
[]
[2]
[]
[3,null,"脱着費",null,1,"式",null,null,"別紙明細-7"]
[]
[4]
[]
[5]
[]
[6]
[]
[7]
[]
[8]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"3の計"]

{"sheet":"（三）別紙明細","index":13,"n_rows":169,"n_cols":18,"rows_kept":169,"cut":false,"hidden":false,"merged":[[164,1,164,2],[165,1,165,2],[166,1,166,2],[167,1,167,2],[158,1,158,2],[159,1,159,2],[160,1,160,2],[161,1,161,2],[162,1,162,2],[163,1,163,2],[152,1,152,2],[153,1,153,2],[154,1,154,2],[155,1,155,2],[156,1,156,2],[157,1,157,2],[147,2,147,5],[147,17,147,18],[148,2,148,3],[148,17,148,18],[149,17,149,18],[151,1,151,2],[139,1,139,2],[140,1,140,2],[141,1,141,2],[142,1,142,2],[143,1,143,2],[145,9,145,10],[133,1,133,2],[134,1,134,2],[135,1,135,2],[136,1,136,2],[137,1,137,2],[138,1,138,2],[125,17,125,18],[127,1,127,2],[128,1,128,2],[129,1,129,2],[131,1,131,2],[132,1,132,2],[118,1,118,2],[119,1,119,2],[121,9,121,10],[123,2,123,5],[123,17,123,18],[124,2,124,3],[124,17,124,18],[112,1,112,2],[113,1,113,2],[114,1,114,2],[115,1,115,2],[116,1,116,2],[117,1,117,2],[101,17,101,18],[103,1,103,2],[105,1,105,2],[106,1,106,2],[110,1,110,2],[111,1,111,2],[95,1,95,2],[97,9,97,10],[99,2,99,5],[99,17,99,18],[100,2,100,3],[100,17,100,18],[89,1,89,2],[90,1,90,2],[91,1,91,2],[92,1,92,2],[93,1,93,2],[94,1,94,2],[82,1,82,2],[84,1,84,2],[85,1,85,2],[86,1,86,2],[87,1,87,2],[88,1,88,2],[76,2,76,3],[76,17,76,18],[77,17,77,18],[79,1,79,2],[80,1,80,2],[81,1,81,2],[69,1,69,2],[70,1,70,2],[71,1,71,2],[73,9,73,10],[75,2,75,5],[75,17,75,18],[63,1,63,2],[64,1,64,2],[65,1,65,2],[66,1,66,2],[67,1,67,2],[68,1,68,2],[57,1,57,2],[58,1,58,2],[59,1,59,2],[60,1,60,2],[61,1,61,2],[62,1,62,2],[51,17,51,18],[52,2,52,3],[52,17,52,18],[53,17,53,18],[55,1,55,2],[56,1,56,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[49,9,49,10],[51,2,51,5],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[27,2,27,5],[27,17,27,18],[28,2,28,3],[28,17,28,18],[29,17,29,18],[31,1,31,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[25,9,25,10],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[1,9,1,10],[3,2,3,5],[3,17,3,18],[4,2,4,3],[4,17,4,18],[5,17,5,18]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":9},"別紙明細書",{"$nulls":6},"別紙明細書","No.1"]
[null,"1","給水設備",{"$nulls":12},"※採用資料"]
[null,"名称","保温工事費",{"$nulls":6},"建設物価"]
[null,"￥",{"$nulls":4},"（１式計上）",null,null,"ｺｽﾄ情報"]
[{"$nulls":9},"積算基準"]
[null,"名　　称",null,"摘　　要",null,null,null,"数量","単位","単価","金  額","歩掛","労務単価","乗率","その他"]
[]
[null,"保温インペイ　20A",null,"GW",null,null,null,20,"ｍ"]
{"$rows_empty":15}
[{"$nulls":9},"計"]
[{"$nulls":9},"別紙明細書",{"$nulls":6},"別紙明細書","NO,2"]
[null,"2","排水設備",{"$nulls":12},"※採用資料"]
[null,"名称","掘方埋戻し費"]
[null,"￥",{"$nulls":4},"（１式計上）"]
[]
[null,"名　　称",null,"摘　　要",null,null,null,"数量","単位","単価","金  額","歩掛","労務単価","乗率","その他"]
[]
[null,"堀方(人力）",null,73.5,0.6,0.4,null,17.64,"ｍ3"]
[null,"埋め戻し(人力）",null,73.5,0.6,0.4,null,17.64,"ｍ3"]
{"$rows_empty":14}
[{"$nulls":9},"計"]
[{"$nulls":9},"別紙明細書",{"$nulls":6},"別紙明細書","No,3"]
[null,"2","排水設備",{"$nulls":12},"※採用資料"]
[null,"名称","保温工事費"]
[null,"￥",{"$nulls":4},"（１式計上）"]
[]
[null,"名　　称",null,"摘　　要",null,null,null,"数量","単位","単価","金  額","歩掛","労務単価","乗率","その他"]
[]
[null,"保温インペイ　40A",null,"GW",null,null,null,1,"ｍ"]
[null,"保温インペイ　80A",null,"GW",null,null,null,20,"ｍ"]
{"$rows_empty":14}
[{"$nulls":9},"計"]
[{"$nulls":9},"別紙明細書",{"$nulls":6},"別紙明細書","No,4"]
[null,"2","排水設備",{"$nulls":12},"※採用資料"]
[null,"名称","既設撤去費",{"$nulls":13},"配管工"]
[null,"￥",{"$nulls":4},"（１式計上）",{"$nulls":9},"保温工"]
[]
[null,"名　　称",null,"摘　　要",null,null,null,"数量","単位","単価","金  額","歩掛","労務単価","乗率","その他"]
[]
[null,"樹脂管　40A",null,"屋内一般配管",null,null,null,7.7,"ｍ"]
[null,"樹脂管　50A",null,"屋内一般配管",null,null,null,33,"ｍ"]
[null,"樹脂管　100A",null,"屋内一般配管",null,null,null,0.7,"ｍ"]
[null,"保温インペイ40A",null,"GW",null,null,null,1,"ｍ"]
[null,"COA65",{"$nulls":5},4,"個"]
[null,"COA100",{"$nulls":5},16,"個"]
{"$rows_empty":10}
[{"$nulls":9},"計"]
[{"$nulls":9},"別紙明細書",{"$nulls":6},"別紙明細書","No,5"]
[null,"2","排水設備",{"$nulls":12},"※採用資料"]
[null,"名称","発生材処分費"]
[null,"￥",{"$nulls":4},"（１式計上）"]
[]
[null,"名　　称",null,"摘　　要",null,null,null,"数量","単位","単価","金  額","歩掛","労務単価","乗率","その他","計","備　　考"]
[]
[null,"金属くず類",{"$nulls":5},16,"kg"]
[null,"廃プラ類",null,"比重0.7未満",null,null,null,45.5,"kg"]
[null,"ガラス、陶器類、ｺﾝｸﾘｰﾄくず",null,"保温材",null,null,null,0.92,"kg"]
{"$rows_empty":13}
[{"$nulls":9},"計"]
[{"$nulls":9},"別紙明細書",{"$nulls":6},"別紙明細書","No,6"]
[null,"2","排水設備",{"$nulls":12},"※採用資料"]
[null,"名称","発生材運搬費"]
[null,"￥",{"$nulls":4},"（１式計上）"]
[]
[null,"名　　称",null,"摘　　要",null,null,null,"数量","単位","単価","金  額","歩掛","労務単価","乗率","その他","計","備　　考"]
[]
[null,"運搬",null,"2tダンプ",null,"片道25km",null,62.42,"kg"]
{"$rows_empty":15}
[{"$nulls":9},"計"]
[{"$nulls":9},"別紙明細書",{"$nulls":6},"別紙明細書","No,7"]
[null,"3","衛生器具設備",{"$nulls":12},"※採用資料"]
[null,"名称","脱着費",{"$nulls":13},"配管工"]
[null,"￥",{"$nulls":4},"（１式計上）"]
[]
[null,"名　　称",null,"摘　　要",null,null,null,"数量","単位","単価","金  額","歩掛","労務単価","乗率","その他","計","備　　考"]
[]
[null,"小便器 床置き",null,"取外し",null,null,null,4,"組"]
[null,null,null,"再取付",null,null,null,4,"組"]
[]
[null,"洋風便器",null,"取外し",null,null,null,36,"組"]
[null,null,null,"再取付",null,null,null,36,"組"]
{"$rows_empty":11}
[{"$nulls":9},"計"]

{"sheet":"共通仮設積上","index":14,"n_rows":37,"n_cols":12,"rows_kept":37,"cut":false,"hidden":false,"merged":[[3,11,4,11],[4,1,4,2],[3,1,3,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,8,4,8]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"工　 　事　　 種　　 別",null,"規　格、形　状、寸　法","数　量","単　位","単　　価","金　　　　額","備　　　　　　考","単　　価","金　　　　額","備　　　　　　考"]
[null,"名　　　　　　　　称",{"$nulls":4},"円","円",null,"円","　　　　　　　　　　円"]
[]
[1,null,"共通仮設積上げ分"]
[]
[2]
[]
[3,null,"仮囲い","成形鋼板H2，000　",400,"ｍ"]
[]
[4,null,"ｹﾞｰﾄ","ｼｰﾄｹﾞｰﾄW3,600 XH4,500",1,"か所"]
[]
[5,null,"交通誘導員B","2人*30日",null,"人"]
[]
[6]
[]
[7,null,"便所",null,1,"棟"]
[]
[8,null,"ｱｽﾍﾞｽﾄ事前分析費",null,6,"検体"]
[]
[9]
[]
[10]
[]
[11]
[]
[12]
[]
[13]
[]
[14]
[]
[15]
[]
[16,null,"Ａの計"]